PERMIT RATIONALE FOR REISSUANCE
Beatriz and Crosofo, Red Hill Mobile Home Park
Panola County
Batesville, Mississippi
Water NPDES No. MS0046361
October 2025

I.	CLASSIFICATION –Commercial NPDES Minor 

II.	DESCRIPTION OF WASTEWATER – Domestic Wastewater

III.	DESCRIPTION OF WASTEWATER TREATMENT – Domestic wastewater is collected and treated via a conventional lagoon.  No increase in flow is proposed within the application.  

IV.	RECEIVING WATERS – Unnamed Creek thence into Armstead Creek.  The receiving water is located within the Yazoo River Basin, and is classified as Fish and Wildlife.  Neither waterbody appears on the current State of Mississippi 303(d) list of impaired waterbodies nor a TMDL has been conducted for this receiving stream.

I.	APPLICABLE GUIDELINES – 11 Mississippi Admin Code pt. 6, Commercial Facility Guidelines (Technology), State of Mississippi Water Quality Criteria (MSWQS), TMDL

V.	SUMMARY OF LIMITATIONS –
Parameter			Flow						Basis
Flow				0.006 MGD					Design
BOD5				30 mg/l (Max Monthly Average)		Technology
TSS				90 mg/l (Max Monthly Average)		Technology
E. Coli				126 Col./100 ml					MSWQS	
Chlorine, Total Residual	0.1 – 1.0 SU					Technology
pH				6.0 – 9.0 SU					MSWQS

	There were no changes from last reissuance.