PERMIT RATIONALE FOR REISSUANCE
DP Hospitality Organization LLC, Super 8
Lincoln County
34 Dunn Ratliff Road, Brookhaven, Mississippi
Water NPDES No. MS0055549
February 2026

I.	CLASSIFICATION – NPDES Commercial

II.	DESCRIPTION OF WASTEWATER – Domestic

III.	DESCRIPTION OF WASTEWATER TREATMENT – Domestic wastewater is collected and treated by an aerated lagoon prior to disinfection. No increase in effluent flow is proposed I the application. 

IV.	RECEIVING WATERS – Discharges into the West bogue Chitto River The receiving waters are located in the Pearl River drainage basin and are classified as Fish and Wildlife. At the point of discharge, the receiving stream does not appear on the current State of Mississippi 303(d) List of Impaired Waterbodies, nor does it appear on a completed Total Maximum Daily Load (TMDL).

V.	APPLICABLE GUIDELINES – 11 Mississippi Admin Code pt. 6, Commercial Facility Guidelines (Technology), State of Mississippi Water Quality Criteria (MSWQS)

VI.	SUMMARY OF DISCHARGE LIMITATIONS – 

Parameter		Value				Basis
Flow			0.0063 MGD	Design
BOD			30 mg/l 			Technology
TSS 			60 mg/l 			Technology
E. coli			126 Col./100mL 	MSWQS
pH			6.0 to 9.0 S.U.	MSWQS
Chlorine		0.1 to 1.0 mg/l	Technology

VII.	CHANGES FROM PREVIOUS PERMIT – 

There were no changes from last permit