# PERMIT RATIONALE FOR ISSUANCE

Huber Engineered Woods, LLC

Noxubee County

Shuqualak, Mississippi

Water State Operating Permit (SOP) with No Discharge No. MSU226004

May 1, 2026

- FACILITY INFORMATION

Facility Name:  	Huber Engineered Woods, LLC

Facility Address:  	3005 MS Highway 145

Shuqualak, MS  39361

Redwood,

Permit No.:  		MSU226004

SIC Code:  		2493 – Reconstituted Wood Products

Permit Writer:  	Carter Cress

EPD Branch:  		Water II

- NATURE OF BUSINESS

This facility is a lumber mill that manufactures wood panel products.  This permit covers a 15,000 gallon per day sewage treatment plant and spray field that will be constructed for the mill.

- EFFLUENT AND RECEIVING STREAM FLOW DATA

None; the facility’s domestic/sanitary wastewater is treated via a no discharge system.

- IV.       TOTAL MAXIMUM DAILY LOAD (TMDL) AND 303(d) ISSUES

Not applicable.

V.        TYPE OF WASTEWATER TREATMENT

Treatment consists of the following: aeration, clarification, chlorine disinfection, filtration, and spray irrigation.

- VI.	   STATEMENT OF BASIS (narrative)

Application documents submitted include: Application for a SOP – Domestic Wastewater Disposal System with No Discharge, USGS quad map, soil boring reports, and plans and specification of the proposed wastewater system.  A Professional Engineer licensed in the State of Mississippi has stamped the plans and specifications of the proposed wastewater system.  The application documents are complete and have been deemed acceptable.