PERMIT RATIONALE FOR ISSUANCE
Pecan View Properties, LLC, Orchard Park Hattiesburg
Forrest County
Hattiesburg, Mississippi
Water NPDES No. MSU226010
July 2, 2026

I.	FACILITY INFORMATION

Facility Name:  Pecan View Properties, LLC, Orchard Park Hattiesburg
Facility Address:  700 Richburg Road 
Hattiesburg, MS  39402    
Hattiesburg, 
Permit No.:  MSU226010
Permit Writer:  Sandeepa Gill
EPD Branch:  Municipal and Commercial Wastewater Division

II.	CLASSIFICATION – Commercial State Operating Permit (SOP)

III.	DESCRIPTION OF WASTEWATER – Domestic Wastewater

IV.	DESCRIPTION OF WASTEWATER TREATMENT – Domestic wastewater is collected and treated in septic tanks. Effluent from the septic tanks is conveyed to an underground absorption bed utilizing an EZ Flow EPS aggregate trench system for subsurface disposal. The treatment system has a design capacity of 1560 gpd with no discharge to surface waters. 
 
V.	RECEIVING WATERS – None. No Discharge to Surface Waters

VI.	APPLICABLE GUIDELINES – 11 Mississippi Admin Code pt. 6

VII.	SUMMARY OF DISCHARGE LIMITATIONS – None. No Discharge System

The wastewater treatment and disposal system for this project must protect water quality. This permit is subject to modification if future evidence, monitoring results, or other information indicates that surface water quality is being adversely affected.  This permit may be modified to require monitoring of surface water if needed to ensure that water quality is being protected.