# PRETREATMENT RATIONALE FOR PERMIT ISSUANCE – SECOND DRAFT

Packaging Corporation of America

DeSoto County

Olive Branch, Mississippi

Permit No.: MSP092472

SIC Code: 2653 – Corrugated and Solid Fiber Boxes

June 29, 2026

Permit Writers: Bill Stacy/Carter Cress

# FACILITY INFORMATION

- Nature of Business: Manufacturer of paperboard corrugated packaging.

- Process Wastewater Description: Continuous discharges generated from washing of water-based flexographic print cylinders on converting machines

- Proposed Flowrate: Outfall 001: 0.00026 MGD Monthly Average

- Applicable Federal Guidelines: 40 CFR Part 403 – General Pretreatment Regulations.

- Process Wastewater Treatment:  No treatment of wastewater occurs prior to introduction into the collection system.

## RECEIVING POTW INFORMATION

- POTW Name; AI No.; and Permit No.: DeSoto County Regional Utility Authority, Metro DeSoto WWTP; 3129; MS0028479

- POTW Treatment Type: 	Activated sludge followed by UV disinfection

- POTW Design Flowrate: 	Phase I: 	0.537 MGD

Phase II:	1.0 MGD

- POTW Receiving Stream: 	Unnamed tributary thence into Nonconnah Creek

- POTW Receiving Stream 7Q10 (Q7/10): 0 MGD

- NOTABLE SAMPLING DATA FROM PERMIT APPLICATION 2P

| Parameter | Daily Max (mg/L) |
| --- | --- |
| BOD | 786 |
| COD | 4650 |
| TSS | 300 |
| Ammonia (as N) | 10.6 |
| pH | - |
| Oil & Grease | 30.3 |
| Cadmium | Non-detect |
| Chromium | Non-detect |
| Copper | 3.25 |
| Lead | Non-detect |
| Mercury | Non-detect |
| Nickel | Non-detect |
| Zinc | 0.600 |

- EFFLUENT LIMITATION GUIDELINES APPLICABILITY

40 CFR Part 403 – General Pretreatment Regulations.

The facility is listed as a manufacturer of corrugated and solid fiberbeard boxes, however 40 CFR Part 430 – The Pulp, Paper, and Paperboard Point Source Category only applies to facilities manufacturing paperboard from raw materials such as fiber or wood pulp. Industrial activity conducted at PCA includes the assembly and printing of paperboard boxes from already manufactured paperboard, therefore, 40 CFR Part 430 is not applicable to the discharge.

No Federal Categorical Effluent Limitations are applicable to the discharge, however, due to non-compliance history at the receiving POTW, the discharge will be evaluated for those parameters for which the POTW’s NPDES permit directly limits. Loading calculations to the POTW for the applicable parameters are shown below.

(XC) * 8.34 * QAVG = Loading (lbs/day)

Where:

XC = Concentration reported in application data (mg/L)

QABG = Proposed permitted flowrate (MGD)

*Note: for those parameters that were not detected in the effluent sample provided with the application, a value equal to one-half the MQL is used for calculation purposes.

| BOD5 COD | 786 4650 | * * | 8.34 8.34 | * * | 0.00026 0.00026 | = = | 1.70 10.1 | lbs/day lbs/day |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Ammonia | 10.6 | * | 8.34 | * | 0.00026 | = | 0.0230 | lbs/day |
| Cadmium (Cd) | 0.005 | * | 8.34 | * | 0.00026 | = | 0.0000108 | lbs/day |
| Copper (Cu) | 3.25 | * | 8.34 | * | 0.00026 | = | 0.0070 | lbs/day |
| Lead (Pb) | 0.015 | * | 8.34 | * | 0.00026 | = | 0.000033 | lbs/day |
| Zinc (Zn) | 0.600 | * | 8.34 | * | 0.00026 | = | 0.00130 | lbs/day |
| Mercury (Hg) | 0.00040 | * | 8.34 | * | 0.00026 | = | 0.00000087 | lbs/day |

Based on the calculations above and due to a lack of historical data for the industrial discharge, MDEQ proposes that the permittee be required to monitor its discharge for the metals parameters listed above that are directly limited by the POTW’s NPDES permit. After a period of 180 days, the permittee will be required to resubmit the Form 2P application with the results of the required monitoring. If evaluation of the additional data reveals a need for numeric limitations or increased monitoring requirements, the permit may be reopened and modified accordingly. The proposed permit limitations for the initial issuance of this permit are detailed in the following section.

- PROPOSED PERMIT LIMITATIONS

| Parameter | Current Permit Limits (CPL) |  | Proposed Permit Limits (PPL) |  |  |  | Basis |
| --- | --- | --- | --- | --- | --- | --- | --- |
|  | Avg. (mg/L) | Max. (mg/L) | Avg. (lb/day) | Max. (lb/day) | Avg. (mg/L) | Max. (mg/L) |  |  |
| Cadmium, TR | ----- | ----- | ----- | ----- | Report | Report | BTJ |  |
| Copper, TR | ----- | ----- | ----- | ----- | Report | Report | BTJ |  |
| Lead, TR | ----- | ----- | ----- | ----- | Report | Report | BTJ |  |
| Mercury, TR | ----- | ----- | ----- | ----- | Report | Report | BTJ |  |
| Zinc, TR | ----- | ----- | ----- | ----- | Report | Report | BTJ |  |
| Ammonia, T | ----- | ----- | Report | Report | Report | Report | DCRUA |  |
| Flow | ----- | ----- | ----- | ----- | Report MGD | Report MGD | BTJ |  |
| pH | ----- | ----- | ----- | ----- | 6.0 min. SU | 9.0 max. SU | BTJ |  |

TR = Total Recoverable; T = Total; BTJ = Best Technical Judgement; DCRUA = recommended by DeSoto County Regional Utility Authority in an e-mail received on June 29, 2026

Cadmium (TR), Copper (TR), Lead (TR), Zinc (TR), Mercury (TR), and Ammonia (T) shall be monitored monthly via grab sampling. pH shall be monitored weekly via grab sampling. Flow shall be monitored daily via instantaneous measurement.

Within 6 months (180 days) after permit issuance, the permittee shall submit a complete Pretreatment Form 2P application containing updated data from the permitted discharge. Based upon the results of the analysis, the permit may be reopened and modified to reflect this data.

Allowable Concentration screening for metals will be calculated after sufficient data from the facility and POTW has been obtained.

A public notice will be required for this permit issuance.

- CHANGES TO SECOND DRAFT PERMIT

In an e-mail received from the DeSoto County Regional Utility Authority on June 29, 2026, ammonia was requested to be added as a monitored pollutant in the proposed permit.  Therefore, the facility will be required to monitor the loading and concentration levels of ammonia, as well.

### APPENDIX A

ADEQUACY OF TREATMENT

Date:					April 8, 2026

Permit Writer:				Bill Stacy

Proposed Site:				Packaging Corporation of America

Pretreatment Permit No. MSP092472

Address:				8489 Summit Cove

Olive Branch, MS  38654

DeSoto County

Proposed Hydraulic Loading:	0.00026 MGD

Proposed Organic Loading:	786 mg/L

786 mg/L*8.34*0.00026 MGD = 1.70 lb/day

DeSoto County Regional Utility Authority, Metro DeSoto WWTP

NPDES Permit No. MS0028479, AI No. 3129

Permitted Flow:	0.537 MGD avg. (Phase I)

12 Months Flow:	0.431 MGD max. avg. value (from August 2025 – February 2026 DMRs *View Inc. ceased discharge to Metro WWTF in August 2025)

12 Months BOD5: 	747 lb/day max. avg. influent value (from August 2025 – February 2026 DMRs)

Evaluation of Flow

0.537 MGD permitted – 0.431 MGD actual = 0.106 MGD

0.106 MGD available vs. 0.00026 MGD proposed increase

Evaluation of BOD5

Permitted flow 537,000 gpd/(100 gallons/person/day) = 5,370 population equivalency

5,370*0.17 lb BOD/person/day = 913 lb/day BOD capacity

913 lb/day available – 747 lb/day actual = 166 lb/day

166 lb/day available vs. 1.70 lb/day proposed increase

Proposed Hydraulic Loading:  0.050 MGD 	*Note: Because discharge has been occurring prior to application for a pretreatment permit, the contribution from PCA is already captured in the existing POTW flow and loading data shown above, but is treated as additional contributory flow for the purposes of this calculation.