# PERMIT RATIONALE FOR REISSUANCE

Enbridge Holdings Mississippi LLC, Former Harmony Gas Plant

Clarke County

Quitman, Mississippi

Water NPDES No. MS0062308

June 29, 2026

- FACILITY INFORMATION

Facility Name:		Enbridge Holdings Mississippi LLC, Former Harmony Gas Plant

Facility Address: 	1067 County Road 284

Quitman, MS  39347

Houston,

Permit No.:  		MS0062308

SIC:  			1311

Permit Writer: 	Tye Gardner

EPD Branch: 	 	Water I Branch

- NATURE OF BUSINESS

Closed Natural Gas Processing Plant subjected to groundwater remediation.

- EFFLUENT AND RECEIVING STREAM FLOW DATA

Effluent from Outfall 001 will consist of treated contaminated groundwater. As reported in the application, the average flow from this outfall is 0.005 mgd; and the long-term average daily discharge is 27 gallons per day.

The receiving stream is the Bogue Homo of the Pascagoula River basin. The HUC code for this section of the basin is 03170002. The 7Q10 for this stream is 0 MGD. The Bogue Homo flows to Shubuta Creek and enters the Chickasawhay River about 1 mile north of the town of Shubuta.

- 303(d) and TMDL ISSUES

Bayou Homo does not appear on the 303(d) List of Impaired Water Bodies in 2024.

Bayou Homo also does not appear on the proposed 2026 303(d) List of Impaired Water Bodies. The facility complies with the following applicable TMDLs:

- Fecal Coliform – Pascagoula River – Pascagoula River Basin – December 1999 – ID: 499121505

- Fecal Coliform – Chickasawhay River – Clarke, Wayne, & Greene Counties

- Mercury – Pascagoula River – Pascagoula River Basin – March 2005 – ID: 405031801

- Sediment - Chickasawhay River Watershed - Pascagoula River Basin - June 2005 - ID: 405052401

- Legacy Pesticides DDT & Toxaphene – Pascagoula River Basin – January 2004 – ID: 404011301

- Sediment - - Chickasawhay River Watershed - Pascagoula River Basin – May 2005 – ID: 405051703

- Organic Enrichment, Total Phosphorus, & Ammonia Toxicity – Chickasawhay River – Green & Wayne Counties – June 2005 – ID: 405063008

- TYPE OF WASTEWATER TREATMENT:

- Air Stripper

- Activated Carbon (as needed)

- Electrochemical Treatment (as needed)

- EPA APPLICABLE CATEGORICAL GUIDELINES

Not Applicable

VII.	DATA FROM APPLICATION FORM (Enter the type of application, i.e. 2D)

| Parameter | Maximum Daily Value |
| --- | --- |
| Flow | 1594 gallons per day |
| Temperature, Winter * | 18o C, estimated |
| Temperature, Summer * | 24o C, estimated |
| Oil and Grease | 72 mg/L |
| Benzene | 0.0155 mg/L |
| Ethylbenzene | 0.0503 mg/L |
| Toluene | 0.00579 mg/L |
| Naphthalene | < 0.001 mg/L |

#### VIII. 	WATER QUALITY LIMITATIONS BASED ON WASTELOAD ALLOCATION

Not Applicable

- CATEGORICAL GUIDELINE LIMITATIONS CALCULATIONS

Not Applicable

TOXICITY SCREENING

Not Applicable

- XI.	PROPOSED FINAL LIMITATIONS

- Outfall 001 Average Permit Limitations

| Parameter | MDEQ UST General Permit | Present Permit Limitation | Proposed Permit Limitations | Testing Frequency | Basis |
| --- | --- | --- | --- | --- | --- |
| Benzene | 0.05 mg/L | 0.05 mg/l | 0.05 mg/l | Twice/Month | UST GP |
| BTEX Combined | 0.75 mg/L | 0.75 mg/l | 0.75 mg/l | Twice/Month | UST GP |
| Flow (MGD) | -- | -- | -- | Continuously | TJ |
| pH | 6.0 to 9.0 SU | 6.0 to 9.0 SU | 6.0 to 9.0 SU | Twice/Month | MSWQS |
| Lead | -- | Test | Test | Monthly | TJ |

- Outfall 001 Maximum Permit Limitations

| Parameter | MDEQ UST General Permit | Present Permit Limitation | Proposed Permit Limitations | Testing Frequency | Basis |
| --- | --- | --- | --- | --- | --- |
| Benzene | 0.075 mg/L | 0.075 mg/l | 0.075 mg/l | Twice/Month | UST GP |
| BTEX Combined | 1.12 mg/L | 1.12 mg/l | 1.12 mg/l | Twice/Month | UST GP |
| Flow (MGD) | -- | 0.005 MGD | 0.005 MGD | Continuously | TJ |
| pH | 6.0 to 9.0 SU | 6.0 to 9.0 SU | 6.0 to 9.0 SU | Twice/Month | MSWQS |
| Oil and Grease | 15.0 mg/L | 15.0 mg/l | 15.0 mg/l | Twice/Month | UST GP |
| Lead | 0.030 mg/L | Test and Record | Test and Record | Monthly | TJ |

Flow shall be continuously measured and recorded.  All limits and frequencies are based on the state of Mississippi Underground Storage Tank General Permit. Benzene, BTEX, Oil & Grease and pH shall be monitored twice per month via grab sampling. Lead shall be monitored once per month via grab sampling and if necessary, the general permit limit will be added to the permit.

The agency interest will submit Discharge Monitoring Reports quarterly.

XII.	BPJ STATEMENT:

It is our Best Professional Judgement that the foregoing limitations represent NSPS and BPJ.