# PUBLIC NOTICE PERMIT RATIONALE FOR REISSUANCE

Canton, City of, Canton Sanitary Landfill

Madison County

Canton, Mississippi

Water NPDES No. MSS058548

July 13, 2026

- FACILITY INFORMATION

Facility Name:		Canton, City of, Canton Sanitary Landfill

Facility Address:	303 Soldier Colony Road

Canton, MS  39046

Canton,

Permit No.:		MSS058548

SIC:			4953

Permit Writer:		Rusty Parrish

EPD Branch:		Water II Branch

- NATURE OF BUSINESS

Municipal Solid Waste Landfill.

- EFFLUENT AND RECEIVING STREAM FLOW DATA

| Outfall No. | Permitting Status | Total Area Drained | Construction Status |
| --- | --- | --- | --- |
| 001 | Currently permitted | Approximately 52.0 acres | Constructed |
| 002 | Currently permitted | Approximately 31.0 acres | Constructed |
| 003 | Currently permitted | Approximately 18.0 acres | Constructed |
| 004 | Proposed | Approximately 45.0 acres | Not Constructed |

Discharges from all four outfalls consist of storm water runoff associated with the construction, development, and operation of the municipal landfill, except for working face runoff and leachate. Outfalls 001, 002, and 003 currently discharge into Bear Creek. Outfall 004 will discharge into Bear Creek. Bear Creek is located in the Big Black River Basin.

- 303(d) and TMDL ISSUES

Bear Creek is on the Mississippi 2024 List of Impaired Water Bodies. The proposed permit complies with the following TMDLs:

- Sediment – Lower Big Black River – Big Black River Basin – January 2007 – ID: 107012603

- Nutrients and Organic Enrichment/ Low DO – Bear Creek & Tilda Bogue – Hinds & Madison Counties – October 2009

- Sediment – Big Black River Watershed – Big Black River Basin – January 2007 – ID: 107012601

- DDT & Toxaphene – Big Black & Tombigbee River Basins – November 2005 – ID: 105111401

- Fecal Coliform – Big Black River Basin Segment 2 – Warren County – October 24, 2000

- pH – Big Black River Watershed – Hinds & Warren Counties – January 2018

- TYPE OF WASTEWATER TREATMENT:

Stormwater is stored in sedimentation basins.

- EPA APPLICABLE CATEGORICAL GUIDELINES

Not applicable.

DATA FROM APPLICATION FORM 2F

| Outfall 001 |  |  |
| --- | --- | --- |
| Parameter | Maximum Daily Value | Average Daily Value |
| Oil and Grease | Data Unavailable | Data Unavailable |
| Biochemical Oxygen Demand (BOD5) | BDL* | BDL* |
| Chemical Oxygen Demand (COD) | 43 mg/L | 43 mg/L |
| Total Suspended Solids (TSS) | 88 mg/L | 88 mg/L |
| Total Phosphorus | Data Unavailable | Data Unavailable |
| Total Kjeldahl Nitrogen (TKN) | Data Unavailable | Data Unavailable |
| Total Nitrogen (as N) | Data Unavailable | Data Unavailable |
| pH (minimum) | 7.8 SU | 7.8 SU |
| pH (maximum) | 7.8 SU | 7.8 SU |
| Turbidity | 84.3 NTU | 84.3 NTU |

| Outfall 002 |  |  |
| --- | --- | --- |
| Parameter | Maximum Daily Value | Average Daily Value |
| Oil and Grease | Data Unavailable | Data Unavailable |
| Biochemical Oxygen Demand (BOD5) | BDL* | BDL* |
| Chemical Oxygen Demand (COD) | 42 mg/L | 42 mg/L |
| Total Suspended Solids (TSS) | 8 mg/L | 8 mg/L |
| Total Phosphorus | Data Unavailable | Data Unavailable |
| Total Kjeldahl Nitrogen (TKN) | Data Unavailable | Data Unavailable |
| Total Nitrogen (as N) | Data Unavailable | Data Unavailable |
| pH (minimum) | 7.9 SU | 7.9 SU |
| pH (maximum) | 7.9 SU | 7.9 SU |
| Turbidity | 9.1 NTU | 9.1 NTU |

| Outfall 003 |  |  |
| --- | --- | --- |
| Parameter | Maximum Daily Value | Average Daily Value |
| Oil and Grease | Data Unavailable | Data Unavailable |
| Biochemical Oxygen Demand (BOD5) | BDL* | BDL* |
| Chemical Oxygen Demand (COD) | 42 mg/L | 42 mg/L |
| Total Suspended Solids (TSS) | 8 mg/L | 8 mg/L |
| Total Phosphorus | Data Unavailable | Data Unavailable |
| Total Kjeldahl Nitrogen (TKN) | Data Unavailable | Data Unavailable |
| Total Nitrogen (as N) | Data Unavailable | Data Unavailable |
| pH (minimum) | 7.9 SU | 7.9 SU |
| pH (maximum) | 7.9 SU | 7.9 SU |
| Turbidity | 9.7 NTU | 9.7 NTU |

| Outfall 004 |  |  |
| --- | --- | --- |
| Parameter | Maximum Daily Value | Average Daily Value |
| Oil and Grease | Data Unavailable | Data Unavailable |
| Biochemical Oxygen Demand (BOD5) | BDL* | BDL* |
| Chemical Oxygen Demand (COD) | 42 mg/L | 42 mg/L |
| Total Suspended Solids (TSS) | 35 mg/L | 35 mg/L |
| Total Phosphorus | Data Unavailable | Data Unavailable |
| Total Kjeldahl Nitrogen (TKN) | Data Unavailable | Data Unavailable |
| Total Nitrogen (as N) | Data Unavailable | Data Unavailable |
| pH (minimum) | 7.9 SU | 7.9 SU |
| pH (maximum) | 7.9 SU | 7.9 SU |
| Turbidity | 34.4 NTU | 34.4 NTU |

*BDL = Below Detection Limit

Data for Outfall 004 is an average of existing Outfalls 001, 002, and 003.

PROPOSED FINAL LIMITATIONS

- Average Permit Limitations

| Outfalls | Parameter | Categorical Limitation | Water Quality Limitation | Present Permit Limitation (PPL) | Proposed Permit Limitation | Basis1 |
| --- | --- | --- | --- | --- | --- | --- |
| 001, 002, 003, & 004 | COD | None | None | Report | Report | PPL |
|  | BOD5 | None | None | Report | Report | PPL |
|  | pH | None | None | 6.0 SU | 6.0 SU | MSWQS |
|  | TSS | None | None | 90 mg/L | 90 mg/L | PPL |
|  | Turbidity | None | None | Report | Report | PPL |

- Maximum Permit Limitations

| Outfalls | Parameter | Categorical Limitation | Water Quality Limitation | Present Permit Limitation (PPL) | Proposed Permit Limitation | Basis1 |
| --- | --- | --- | --- | --- | --- | --- |
| 001, 002, 003, & 004 | COD | None | None | Report | Report | PPL |
|  | Flow | None | None | Report | Report | PPL |
|  | BOD5 | None | None | Report | Report | PPL |
|  | pH | None | None | 9.0 SU | 9.0 SU | MSWQS |
|  | TSS | None | None | Report | Report | PPL |
|  | Turbidity | None | None | Report | Report | PPL |

1Basis: PPL = Present Permit Limitation; MSWQS = Mississippi Water Quality Standard; SLL = Standard Landfill Limitation

The parameters shall be monitored monthly via grab sampling. Results will be reported quarterly (January, April, July, and October) on Discharge Monitoring Reports (DMRs).

An Antidegradation Report was submitted on April 26, 2024. MDEQ completed the review and had no comments.

The Stormwater Pollution Prevention Plan (SWPPP) submitted by the facility in October 2023 meets the current SWPPP conditions of the permit.