# PERMIT RATIONALE FOR REISSUANCE

Illinois Central Railroad Company CN, McComb Yard

Pike County

McComb, Mississippi

Water NPDES No. MS0000141

July 16, 2026

- FACILITY INFORMATION

Facility Name: 	Illinois Central Railroad Company CN, McComb Yard

Facility Address: 	South Railroad Ave

McComb, MS  39648

Jackson,

Permit No.: 		MS0000141

SIC: 			4011

Permit Writer:  	Tye Gardner

EPD Branch:  		Water I Branch

- NATURE OF BUSINESS

Railroad and Line Haul Operations. This facility is classified as an NPDES Minor Source.

- EFFLUENT AND RECEIVING STREAM FLOW DATA

Effluent from Outfall 001 consists of treated storm water runoff from the facility storm water collection system, wash water from the locomotive refueling and maintenance apron, and storm water runoff from the railcar inspection and repair area. The outfall has a maximum daily flow of 0.003 MGD and will discharge directly into Town Creek (7Q10 flow = 0.2585 MGD) then into the Little Tangipahoa River located in the South Independent Streams Basin.

- 303(d) and TOTAL MAXIMUM DAILY LOAD (TMDL) ISSUES

Town Creek does not appear on the 2026 303(d) List of Impaired Water Bodies.

The facility complies with the following applicable TMDLs:

- Fecal Coliform – Tangipahoa River – Pike & Amite Counties – December 1999 – ID: 699121503

- Organic Enrichment/Low Dissolved Oxygen & Total Ammonia Nitrogen – Little Tangipahoa River – Pike County – June 2004 – ID: 699121502

- TYPE OF WASTEWATER TREATMENT

- Oil/Water Separator

- WW Lagoon #1 – Oil Separation and removal, solids settlement

- WW Lagoon #2 – Flow Equalization and biological stabilization

- EPA APPLICABLE CATEGORICAL GUIDELINES

None.

VII.	DATA FROM APPLICATION FORM (2C)

#### VIII. 	WATER QUALITY LIMITATIONS BASED ON WASTELOAD ALLOCATION

None.

- CATEGORICAL GUIDELINE LIMITATIONS CALCULATIONS

Not Applicable.

TOXICITY SCREENING

Not Applicable.

- XI.	PROPOSED FINAL LIMITATIONS

- Average Permit Limitations

| Outfall | Parameter | Categorical Limitation | Water Quality Limitation | Present Permit Limitation | Proposed Permit Limitation | [1]Basis |
| --- | --- | --- | --- | --- | --- | --- |
| 001 | Flow (MGD) | -- | -- | Report | Report | TJ, PPL |
| 001 | Oil and Grease | -- | -- | 10 mg/L | 10 mg/L | TJ, PPL |
| 001 | pH | -- | 6.0 SU | 6.0 SU | 6.0 SU | MSWQS |

- Maximum Permit Limitations

| Outfall | Parameter | Categorical Limitation | Water Quality Limitation | Present Permit Limitation | Proposed Permit Limitation | [1]Basis |
| --- | --- | --- | --- | --- | --- | --- |
| 001 | Flow (MGD) | -- | -- | Report | Report | TJ, PPL |
| 001 | Oil and Grease | -- | -- | 15 mg/L | 15 mg/L | TJ, PPL |
| 001 | pH | -- | 9.0 SU | 9.0 SU | 9.0 SU | MSWQS |

1Basis: MSWQS = Mississippi Water Quality Standards, PPL=Previous Permit Limits, TJ=Technical Judgment.

Flow shall be monitored monthly via instantaneous sampling; all other parameters shall be monitored monthly via grab sampling.

All parameters’ DMRs shall be submitted quarterly.