PERMIT RATIONALE FOR REISSUANCE
King Farms Development LLC, King Farms Subdivision
Lauderdale County
Meridian, Mississippi
Water NPDES No. MS0060615
December 9, 2025

I.	CLASSIFICATION – NPDES Commercial

II.	DESCRIPTION OF WASTEWATER – Domestic Wastewater

III.	DESCRIPTION OF WASTEWATER TREATMENT – Domestic wastewater is collected and treated via a conventional lagoon, followed by chlorine disinfection. No increase in flow is proposed within the application.  

IV.	RECEIVING WATERS – Unnamed Tributary thence Looper Creek. The receiving water is located within the Pascagoula River drainage basin and is classified as Fish and Wildlife. At the point of discharge the receiving stream does not appear on the current 2020 State of Mississippi 303 (d) List of Impaired Waterbodies. The permitted discharge does not currently appear on any completed TMDL. Only one discharge to surface waters is described within the application.

V.	APPLICABLE GUIDELINES – 11 Mississippi Admin Code Part 6, Commercial Facility Guidelines (Technology)

VI.	SUMMARY OF LIMITATIONS –

	Parameter						Value			Basis
	Flow						0.012 MGD			Design
	TSS						30 mg/l 			Technology
	pH						6.0 – 9.0 SU			MS WQS
	BOD5						30 mg/l			Technology
	E. coli						126 #col./100 ml 			MS WQS
	Chlorine, Total Residual			0.1-1.0 mg/l			MS WQS