PERMIT RATIONALE FOR REISSUANCE
Pride Auto Sales Inc
Panola County
Batesville, Mississippi
Water NPDES No. MS0052604
April 26, 2023

I.	CLASSIFICATION – Domestic NPDES

II.	DESCRIPTION OF WASTEWATER – Minor Domestic

III.	DESCRIPTION OF WASTEWATER TREATMENT – Domestic wastewater is collected and treated through a package plant followed by a sand filter.  

IV.	RECEIVING WATERS – Cole Creek.  Cole Creek does not appear on the current 303(d) List of Impaired Waterbodies.  Cole Creek does have a TMDL for Nutrients. All the limitations in the permit complies with the TMDL. This waterbody is in the Yazoo River drainage basin.  Cole Creek is classified as Fish and Wildlife.

V.	APPLICABLE GUIDELINES – 11 MS admin code part 6

VI.	SUMMARY OF DISCHARGE LIMITATIONS – 

Parameter		Value					Basis
Flow			0.001 MGD				Design
BOD			30 mg/l (Yearly Average)		Domestic Guidelines
TSS			30 mg/l (Yearly Average)		Domestic Guidelines
E. Coli			126 Col./100mL (Yearly Average)	Domestic Guidelines
Oil & Grease		10 mg/l (Yearly Average)		Previous Permit
Effluent pH		6.0 to 9.0 S.U.				MS WQS
Chlorine		0.1 to 1.0 mg/l				MS WQS
Total Nitrogen		Report (lbs/day)			WLA
Total Phosphorus	Report (lbs/day)			WLA