PERMIT RATIONALE FOR REISSUANCE
Joe Harvell, Bulldog Trailer Park
Oktibbeha County
Starkville, Mississippi
Water NPDES No. MS0047279
April 20, 2023

I.	CLASSIFICATION –NPDES Commercial

II.	DESCRIPTION OF WASTEWATER –Domestic

III.	DESCRIPTION OF WASTEWATER TREATMENT – Domestic wastewater is collected and treated by means of a conventional lagoon followed by disinfection by chlorination.  One discharge is described within the application with no increase in flow proposed.

IV.	RECEIVING WATERS –  An Unnamed Creek thence Sand Creek.  The stream does not appear on the updated 303(d) List of Impaired Waterbodies but does appear on a completed Fecal Coliform TMDL for Tibbee Creek. The facility utilizes chlorine disinfection and complies with the TMDL. The receiving stream is located within the Tombigbee River basin.  Sand Creek is classified as Fish and Wildlife.  

V.	APPLICABLE GUIDELINES –11 Mississippi Admin Code pt. 6, Commercial Facility Guidelines (Technology), State of Mississippi Water Quality Criteria (MSWQS)

VI.	SUMMARY OF DISCHARGE LIMITATIONS – 

Parameter		Value					Basis
Flow			0.005 MGD				Design
BOD			30 mg/l 				Technology
TSS			90 mg/l 				Technology
E. Coli			126 Col./100mL 			MSWQS
Effluent pH		6.0 to 9.0 S.U.				MSWQS
Chlorine		0.1 to 1.0 mg/l				MSWQS
	
VII.	CHANGES FROM PREVIOUS PERMIT

No Change