PERMIT RATIONALE FOR REISSUANCE
Palmer Place LLC Mobile Home Park
Lauderdale County
Meridian, Mississippi
Water NPDES No. MS0043893
April 2023

I.	CLASSIFICATION –NPDES Commercial

II.	DESCRIPTION OF WASTEWATER –Domestic

III.	DESCRIPTION OF WASTEWATER TREATMENT – Domestic wastewater is collected and treated via a conventional lagoon.  

IV.	RECEIVING WATERS –  Rogers Creek. Rogers Creek does not appear on the updated 303(d) List of Impaired Waterbodies, nor does it appear on a completed TMDL.  This waterbody is in the Pascagoula River drainage basin. Rogers Creek is classified as Fish and Wildlife.  One discharge to surface waters is described within the application with no increase in flow proposed. The discharge from this facility should not further impair water quality.

V.	APPLICABLE GUIDELINES – 11 Mississippi Admin Code pt. 6, Commercial Facility Guidelines (Technology), State of Mississippi Water Quality Criteria (MSWQS)

VI.	SUMMARY OF DISCHARGE LIMITATIONS – 

Parameter		Value					Basis
Flow			0.001 MGD				Design
BOD			30 mg/l 				Technology
TSS			90 mg/l				Technology
E. Coli			126 Col./100mL 			MSWQS
Effluent pH		6.0 to 9.0 S.U.				MSWQS
Chlorine		0.1 to 1.0 mg/l				Technology
	
VII.	CHANGES FROM PREVIOUS PERMIT-

No Change