PERMIT RATIONALE FOR REISSUANCE
Raskin Enterprise LLC, dba Delta Village Mobile Home Park
Washington County
Leland, Mississippi
Water NPDES No. MS0041645
December 2023

I.	CLASSIFICATION – Domestic NPDES

II.	DESCRIPTION OF WASTEWATER – Minor Domestic

III.	DESCRIPTION OF WASTEWATER TREATMENT – Domestic wastewater is collected and treated via a conventional lagoon. 

IV.	RECEIVING WATERS – Drainage Ditch thence into Swiftwater Bayou. The receiving stream does not appear on the current State of Mississippi 303(d) List of Impaired Waterbodies. These waterbodies are in the Yazoo River drainage basin, and are classified as Fish & Wildlife. The facility is not included in a completed TMDL. One discharge to surface waters is described within the application with no increase in flow proposed. The discharge from this facility should not further impair water quality. 

V.	APPLICABLE GUIDELINES – 11 MS Admin Code, Commercial Facility Guidelines

VI.	SUMMARY OF DISCHARGE LIMITATIONS – 
Parameter		Value					Basis
Flow			0.061 MGD				Design
BOD			30 mg/l (Monthly Average)		Domestic Guidelines
TSS			90 mg/l (Monthly Average)		Domestic Guidelines
e. Coli			126 Col./100mL			Domestic Guidelines
Effluent pH		6.0 to 9.0 S.U.				MS WQS
Chlorine		0.1 to 1.0 mg/l				MS WQS