PERMIT RATIONALE FOR REISSUANCE
Country One Truck Stop LLC
Copiah County
Wesson,, Mississippi
Water NPDES No. MS0038873
Date

I.	FACILITY INFORMATION
Facility Name:  Country One Truck Stop LLC
Facility Address:  8098 Sylvarena Road 
Wesson, MS  39191    
Wesson, 
Permit No.:  MS0038873
SIC:  5541
Permit Writer:  Ryan Case
EPD Branch:  Municipal Division

I.	CLASSIFICATION – Commercial NPDES Minor

II.	DESCRIPTION OF WASTEWATER – Domestic Wastewater

III.	DESCRIPTION OF WASTEWATER TREATMENT – Domestic wastewater is collected and treated by means of a conventional lagoon followed by disinfection by chlorination.  No increase in flow is proposed within the application.

IV.	RECEIVING WATERS – Unnamed creek thence Bayou Pierre.  The receiving streams are located within the Southern Independent Streams basin and are classified as Recreation.  At the point of discharge the receiving stream does appear on the current State of Mississippi 303(d) list for impaired waterbodies for biological imparement.  A completed TMDL has been conducted for Pathogens. The existing discharge from this facility complies with the TMDL, and should not further impair water quality.  One discharge to surface waters is described within the application.  No increase in flow is proposed within the application.  

V.	APPLICABLE GUIDELINES – 11 Mississippi Admin. Code pt. 6 (Admin. Code), Total Maximum Daily Load (TMDL), and Commercial Facility Guidelines

VI.	SUMMARY OF LIMITATIONS –
Parameter				Value					Basis
Flow					0.015 MGD				Design	
BOD5					30 mg/l 				Technology
TSS					90 mg/l 				Technology
E. Coli					126 Col./100 ml			TMDL
Total Residual Chlorine		0.1 – 1.0 mg/l				Admin. Code
pH					6.0 – 9.0 SU				Admin. Code

VII.	CHANGES FROM PREVIOUS PERMIT- Facility name updated