PERMIT RATIONALE FOR REISSUANCE
Pecan Village LLC, Pecan Village Subdivision
Warren County
Vicksburg, Mississippi
Water NPDES No. MS0055344
October 2025

I.	CLASSIFICATION – NPDES Commercial

II.	DESCRIPTION OF WASTEWATER – Domestic

III.	DESCRIPTION OF WASTEWATER TREATMENT – Domestic wastewater is collected and treated via a conventional lagoon followed by chlorine disinfection prior to discharge. Only one discharge to surface waters is described within the application with no increase in treated effluent flow proposed. 

IV.	RECEIVING WATERS – Unnamed Stream thence into Redbone Creek. The receiving waters are located in the Big Black River drainage basin and are classified as Fish and Wildlife. At the point of discharge, the receiving stream does not appear on the current State of Mississippi 303(d) List of Impaired Waterbodies, nor does the discharge appear on a completed Total Maximum Daily Load (TMDL).

V.	APPLICABLE GUIDELINES – 11 Mississippi Admin Code pt. 6, Commercial Facility Guidelines (Technology)

VI.	SUMMARY OF DISCHARGE LIMITATIONS – 

	Parameter			Value	Basis
	Flow				0.0164 MGD	Design
	BOD				30 mg/l 	Technology
	TSS 				90 mg/l 	Technology
	E. coli				126 Col./100mL 	Admin Code
	pH				6.0 to 9.0 S.U.	Admin Code
	Chlorine			0.1 to 1.0 mg/l	Admin Code

VII.	CHANGES FROM PREVIOUS PERMIT – 

None