PERMIT RATIONALE FOR ISSUANCE
Neshoba County Board of Supervisors, Burnside Park Restroom
Neshoba County
Philadelphia, Mississippi
Water NPDES No. MSU225006
Date

I.	CLASSIFICATION – Commercial State Operating Permit (SOP)

II.	DESCRIPTION OF WASTEWATER – Domestic Wastewater

III.	DESCRIPTION OF WASTEWATER TREATMENT – Domestic wastewater is treated via 750 GPD wastewater aerated treatment unit (ATU) followed by an absorption field.  ATU shall be equipped with control panel capable of automatic power disconnect for quick de-energizing in a flood event at this location.

IV.	APPLICABLE GUIDELINES – 11 MS Admin Code Pt 6

V.	SUMMARY OF LIMITATIONS – None. No discharge to surface waters is described in the application.